## Sheet1
LFAnalyze Input Arguments.
Shortcut | Function |  |  |  | Help
LFcalibrate
# Parse command line options
"-o" | "--output-filename" | dest="output_filename" |  |  | help="Specify the name of the calibration file."
'' | "--synthetic" | action="store_true" | dest="synthetic_lf" | default=False | help="Use this option to create a synthetic light field (i.e. with no calibration image"
'' | "--use-ray-optics" | action="store_true" | dest="use_ray_optics" | default=False | help="Use the less accurate ray optics model rather than wave optics model."
'' | "--voxels-as-points" | action="store_true" | dest="voxels_as_points" | default=False | help="Treat each voxel as an ideal point source. This turns of numerical integration that gives the voxel spatial extent (which can be important for anti-aliasing."
# Calibration routine parameters
"" | "--dark-frame" | dest="dark_frame_file" | default=None |  | help="Specify the a dark frame image to subtract from the input light-field before processing. (This makes radiometric calibration more accurate.)"
"" | "--radiometry-frame" | dest="radiometry_frame_file" | default=None |  | help="Specify the a radiometry frame to use for radiometric correction. If no frame is specified
"" | "--align-radiometry" | action="store_true" | dest="align_radiometry" | default=False | help="Align the radiometry image automatically to the geometric calibration image. (use this option when the radiometry frame has been \"bumped\" before imaging begins."
# Optical parameters
'' | "--pitch" | dest="ulens_pitch" | type=float | default=None | help="Specify the microlens pitch (in microns)."
'' | "--pixel-size" | dest="pixel_size" | type=float | default=None | help="Specify the size of a pixel on the sensor taking magnification due to relay optics into account (in microns)."
'' | "--focal-length" | dest="ulens_focal_length" | type=float | default=2432.72 | help="Specify the microlens focal length (in microns)."
'' | "--ulens-focal-distance" | dest="ulens_focal_distance" | type=float | default=None | help="Specify the microlens focal distance (in microns). If you do not specify a value | it is assumed that the focal distance is equal to the focal length."
'' | "--magnification" | dest="objective_magnification" | type=int | default=20 | help="Specify the objective magnification."
'' | "--na" | dest="objective_na" | type=float | default = 0.5 | help="Specify the objective numerical aperture."
'' | "--tubelens-focal-length" | dest="tubelens_focal_length" | type=float | default = 200.0 | help="Tube lens focal length (in millimeters)."
'' | "--wavelength" | dest="center_wavelength" | type=float | default = 509 | help="Center wavelength of emission spectrum of the sample (nm)."
'' | "--medium-index" | dest="medium_index" | type=float | default = 1.33 | help="Set the index of refraction of the medium."
'' | "--ulens-fill-factor" | dest="ulens_fill_factor" | type=float | default=1.0 | help="Specify the microlens fill factor (e.g. 1.0, 0.7, ...)."
'' | "--pixel-fill-factor" | dest="pixel_fill_factor" | type=float | default=1.0 | help="Specify the pixel fill factor (e.g. 1.0, 0.7, ...)."
'' | "--ulens-profile" | dest="ulens_profile" | default='rect' |  | help="Specify the shape of the microlens apertures. Options include: ['rect', 'circ']"
# Volume parameters
'' | "--num-slices" | dest="num_slices" | type=int | default=30 | help="Set the number of slices to produce in the output stacks."
'' | "--um-per-slice" | dest="um_per_slice" | type=float | default=10.0 | help="Set the thickness of each slice (in um)."
'' | "--z-center" | dest="z_center" | type=float | default=0.0 | help="Set the offset for the central z slice (in um)."
'' | "--supersample" | dest="supersample" | type=int | default= 1 | help="Supersample the light field volume. This results in a higher resolution reconstruction up to a point | and interpolation after that point."
# Geometric calibration Options
"" | "--affine-alignment" | action="store_true" | dest="affine_alignment" | default=False | help="Use affine warp for correcting geometric distortion (default is cubic)."
"" | "--isometry-alignment" | action="store_true" | dest="isometry_alignment" | default=False | help="Use isometry warp for correcting geometric distortion (default is cubic)."
| "--chief-ray" | action="store_true" | dest="chief_ray_image" | default=False | help="Use this flag to indicate that the calibration frame is a chief ray image."
# Synthetic parameters
'' | "--ns" | dest="ns" | type=int | default=50 | help="Set the lenslets in s direction."
'' | "--nt" | dest="nt" | type=int | default=50 | help="Set the lenslets in t direction."
# Other Options
'' | "--crop-center-lenslets" | action="store_true" | dest="crop_center_lenslets" | default=False | help="For severe aperture vignetting (high NA objectives) | use only center lenslets for calibration | and extrapolate outwards."
'' | "--skip-alignment" | action="store_true" | dest="skip_alignment" | default=False | help="Skip the alignment step during geometric calibration (useful if you are working with an already-rectified light field or a synthetic light field."
"" | "--skip-subpixel-alignment" | action="store_true" | dest="skip_subpixel_alignment" | default=False | help="Skip subpixel alignment for determining lenslet centers."
'' | "--num-threads" | dest="num_threads" | type=int | default=10 | help="Set the number of CPU threads to use when generating the raydb."
"" | "--pinhole" | dest="pinhole_filename" | default=None |  | help="After calibrating save the rectified light field as a rectified sub-aperture image."
"" | "--lenslet" | dest="lenslet_filename" | default=None |  | help="After calibrating save the rectified light field as a rectified lenslet image."
'-d' | "--debug" | action="store_true" | dest="debug" | default=False | help="Save debug images."
Rectify
"-p" | "--output-pixels-per-lenslet" | dest="output_pixels_per_lenslet" |  |  | help="Specify the number of pixels per lenslet in the output image."
"-o" | "--output-file" | dest="output_filename" |  |  | help="Specify the output filename."
"-c" | "--calibration-file" | dest="calibration_file" |  |  | help="Specify the calibration file to use for rectification."
'-s' | "--subaperture" | action="store_true" | dest="subaperture" | default=False | help="Save out the light field image as tiled subapertures."
Deconvolve
| 'input_file' |  |  |  | help="You must supply at least one light field image to deconvolve."
"-o" | "--output-file" | dest="output_filename" |  |  | help="Specify the output filename."
"-c" | "--calibration-file" | dest="calibration_file" |  |  | help="Specify the calibration file to use for rectification."
| "--private-key" | dest="private_fn" | type=str | default=key_def | help="Specify the private key file for remote transfers."
key_def = os.path.join(os.path.dirname(os.path.abspath(__file__)), 'enlightenment_c3')
| "--cov-directory" | dest="cov_directory" |  |  | help="Specify the directory where ADMM covariance matrices are saved."
# Algorithm selection
| "--solver" | dest="solver" | default='rl' |  | help= "Available reconstruction methods are: "
" Approximate Message Passing (with optional multiscale denoising ('amp')
" Alternating Direction Method of Multipliers with Huber loss ('admm_huber')
" Alternating Direction Method of Multipliers with TV penalty ('admm_tv)
" Conjugate Gradient ('cg')
" Direct method with Cholesky factorization ('direct')
" Least Squares QR ('lsqr')
" K-space deconvolution ('kspace')
" Simultaneous Iterative Reconstruction Technique ('sirt')
" MRNSD ('mrnsd')
" and Richardson-Lucy ('rl'). Default is currently 'sirt'.")
# Algorithm-specific parameters
| "--alpha" | dest="alpha" | type=float | default=1.6 | help="Relaxation parameter for SIRT-based iterative reconstruction."
| "--multiscale-smoothing" | dest="multiscale_smoothing" | action="store_true" | default=False | help="Multiscale regularization option for AMP reconstruction."
| "--save-multiscale" | dest="save_multiscale" | action="store_true" | default=False | help="Save multilevel decomposition of data."
# Generic parameters for iterative reconstruction routines
| "--lambda" | dest="regularization_lambda" | type=float | default=0.0 | help="Regularization coefficient (behavior varies by reconstruction algorithm)"
| "--lambda2" | dest="regularization_lambda2" | type=float | default=0.0 | help="Additional regularization coefficient. (Behavior varies by algorithm | and not all algorithms use two regularization coefficients.)"
| "--max-iter" | dest="max_iter" | type=int | default=15 | help="Maximum number of iterations for SIRT-based reconstruction."
| "--convergence-threshold" | dest="conv_thresh" | type=float | default= 0.0 | help="Convergence criteria threshold, d/dt (MSE). Try 5e-5 for SIRT, 1e-2 for TV."
# Noise model parameters
| "--readnoise-variance" | dest="readnoise_variance" | type=float | default=0.0 | help="Set the variance of the (measured) camera read noise."
| "--background-level" | dest="background_level" | type=float | default=1.0 | help="Set the (measured) background level of the image."
# Assorted other parameters
| "--disable-gpu" | action="store_true" | dest="disable_gpu" | default=False | help="Disable GPU deconvolution and use software implementation instead."
| "--gpu-id" | dest="gpu_id" | type=int | default=int(os.environ.get('USE_GPU_ID', 1)) | help="Force lfdeconvolve to use a specific GPU on your system. If not supplied this will default to $USE_GPU_ID or 1), if --gpu-id is not supplied it will default to the value of the USE_GPU_ID environment variable, if set, or 1 otherwise."
| "--focalstack" | action="store_true" | dest="focalstack" | default=False | help="Turn off deconvolution and simply save a focal stack to disk."
| "--remove-grid" | action="store_true" | dest="remove_grid" | default=False | help="Remove grid artifacts in light field image using spectral median filter."
| "--pinhole-file" |  | dest="pinhole_filename" | default=None | help="After deconvolution save out a deconvolved light field sub-aperture image."
| "--deconvolution-type" | dest="decon_type" | default='algebraic' |  | help="Choose deconvolution method. One of [algebraic, direct, admm].
| "--reg-factor" | dest="reg_factor" | type=float | default=100. | help="Regularization parameter used in ADMM."
| "--h5py-cov-filename" | dest="h5py_cov_filename" | default='tests/covariance_blocks.h5' |  | help="Specify the HDF5 covariance filename."
| "--direct-type" | dest="direct_type" | default="covariance" |  | help="If --direct flag is set to True specifies whether the covariance or projection matrix method is used."
| "--benchmark" | action="store_true" | dest="benchmark" | default=False | help="Compare the CPU and GPU speeds for forward & back porjection operations."
| "--test" | dest="test" | type=int |  | help="Select a unit test (1-4)."
| "--log-convergence" | action="store_true" | dest="log_convergence" | default=False | help="For logging convergence details."