## Slide 1: Light Field Imaging Toolbox

## Slide 3: Design goals
Modular
Extensible
  Interfaces and implementations
  APIs/SPIs... accessible from notebooks or napari
Interoperable
  Light Field Imaging (napari plugin)
  adapters to ImageJ, ImgLib2, Bioformats,

## Slide 4: Modules
design interfaces for the entire workflow, regardless of implemention
LFAcquire (using umgr?, later)
LFMeta, LFData
  LFData.import, transform
LFCalibrate
LFRectify
LFDeconvolution
LFDeepLearn, LFInference
LFView… LFDisplay

## Slide 5
LFMeta, LFData
  LFData.import, transform
LFCalibrate
LFRectify
LFDeconvolution
LFI Plugin
Jupyter
LFI Gui
LFI Gui

## Slide 6: Data and Metadata
File / dataset naming
Containers / file formats
Metadata
LFMeta specify metadata req'd
LFData + utilizes LFMeta
napari metadata?

## Slide 7: Files
<Sample folder>
DarkImage.tif
WhiteImage.tif
stack
RawLFImage.tif
Sample.lfm
…
….
Calibration file
calibrate
deconvolve
LF metadata, text
JSON
Perspective
(subaperture)
rectify

## Slide 8: Data Objects
<folder or .H5>
<SampleSet>
DarkImage
WhiteImage
Stack
RawLFImage
metadata.lfm
(.json)
Calibration file
.lfc
Perspective
(subaperture)
Rectified
Input/adjust Metadata
Defaults/file
Select White & Dark
Calibrate
Select RawLF(s)
View Rectified
Full Deconvolve
3D View of Stack
View Perspectives
Select Output
[as file, as dataset on .h5]
Select Dataset
(folder or .h5)
Quick Deconvolve
Perspective
Quick Stack
<SampleSet>
Select Quick Deconvolve method/params
Select Full Deconvolve method/params
Inspect Calibration

## Slide 9
<folder or .H5>
<SampleSet>
DarkImage
WhiteImage
Stack
RawLFImage
metadata.lfm
(.json)
Calibration file
.lfc
Perspective
(subaperture)
Rectified
Quick Stack
Instrument/Acq
Perspective
(subaperture)
<SampleSet>
Stack
RawLFImage
Perspective
(subaperture)
Quick Stack

## Slide 10
Instrument
Action
Action
Data
Action
Action
Deconvolve
Action
um per slice
Number of slices
Use Single Precision
Supersample
Algoithm
Action
Other
Action
Action

## Slide 12
Set Metadata
NA, mag, pitch, …
Select White & Dark
Calibrate
Select RawLF(s)
View Rectified
Full Deconvolve
3D View of Stack
View Perspectives
Select Output
[as file, as dataset on .h5]
Select Dataset location
(folder or .h5)
Quick Deconvolve
Inspect Calibration
Settings:
Device
Set Quick Deconvolve method/params
Set Full Deconvolve method/params
View RawLF(s)

## Slide 13: Files
May be files in a folder or datasets contained in HDF5 file.
Naming
  Unique <sample> name
  LF metadata file .lfm (text, JSON)
Tool to generate LFmeta
  App to fill in values
  acquisition system might create

## Slide 14
LFI Plugin Design
HDF5 file structure and metadata
Start with LFMNet's HDF5 dataset file
GUI functions/details
Save the last state of the plugin, so that on the next startup the last dataset path is loaded along with the last parameters used. I'm sure napari should have some api for this already. See Persistence: https://napari.org/guides/preferences.html
Option to use the LF-Analyze folder option, to select one that is not included with the plugin. Currently that folder option has been disabled since I couldn't figure out a way to load the LF Analyze library from within the plugin.
Better progress indicator, however, this would need tweaking the LFA code to emit events.
https://napari.org/guides/event_loop.html
Add tooltips to existing GUI items
Annoyingly, to have a cascading menubar for the plugin it seems to need more than 1 widget, so have left the Example QWidget there as well for now. (defined in napari.yaml)
Good docs here: https://napari.org/guides/magicgui.html
Plugin layout design (separate widgets and/or tabs etc.) and User feedback regarding workflow
Articulate Use Cases/Workflow ... review with Rudolf
including:
Additional options that are included in script to be included in an additional tab as "Optional parameters".
Install / Config / Dependencies
Some message prompt to indicate about required libraries that are missing like opencv, h5py, etc. (these need to be installed into your napari env since they don't seem to install with napari)

## Slide 15: GUI
Leveraging napari infrastructure…
GUI
  MagicGUI
  QtPy (abstraction layer over PyQT, PySide)
  Leverage VizPy, Scikit-image, …
(Later…) Acquisition, camera control, drivers  Micromanager?

## Slide 16: Input from LFAnalyse….

## Slide 17: UI

## Slide 18: Optics [Config]

## Slide 19: LFDisplay – Main window

## Slide 20: Lenslet

## Slide 21: Optics [Explore]

## Slide 22: Input, Output
Camera control
Acquisition
File save

## Slide 23: ImgNav…
Py version of ImgNav... in python?
add subdir organization and metadata/description/notes in file descibeme.
preview image. preview.tif [gif, jpg, png] with tiff [single|multiple page]]?
specify representative thumbnail
like a readme.